## Combined
Room | Type | Scope Item | Reference image | Ray Comment | Contractor Comment
Whole Apartment | Tiling | Tiling whole apartment with <=1mm epoxy mixed grout. (Tiles to be decided)
Whole Apartment | Builder | Patching chase up work. Plaster and redering to be as seamless as possible with wall texture
Whole Apartment | Electrical | Replace all current light switch to new design. To be decided
Bathroom | Plumbing | Check water pipes before starting work
Bathroom | Plumbing | Certified waterproofing entire bathroom
Bathroom | Tiling | Install Tile for all walls and floor
Bathroom | Joinery | Custom build vanity with large draws and shelf on the side cabintry. Install/build across on existing bathtub area | https://designhostess.com/wp-content/uploads/2022/10/LINE_ALBUM_221005_3.jpg | Chasing/plumbing work required to source pipes from bathtub
Bathroom | Plumber/Builder/Joinery | Install taps, basin, entire vanity
Bathroom | Builder | Install Large circular mirror with LED lit behind
Bathroom | Builder | Install LED strip underneath vanity and shelfs | https://designhostess.com/wp-content/uploads/2022/10/LINE_ALBUM_221005_3.jpg
Bathroom | Joinery | Stone/stone look benchtop
Bathroom | Electrical | Electrical points both sides of circular mirror |  | Chasing may be required. Refer to electrical socket and lighting design
Bathroom | Plumbing | Install framelss glass no door |  | Frameless glass installed with minimum 80cm from niche wall.
Bathroom | Builder | Install niche along length of shower | https://designhostess.com/wp-content/uploads/2022/10/LINE_ALBUM_221005_1.jpg | Allow for electricals to be able to install LED strip
Bathroom | Plumbing | Shower taps and shower head moved to opposite side of shower area |  | Chasing/plumbing work required to source pipes from existing vanity area
Bathroom | Plumbing | Shower head dropped from bulkhead
Bathroom | Electrical | Bathroom Exaust fan
Bathroom | Electrical | Install 2 new down lights |  | refer to 3D model for bathroom concepts
Toilet | Plumbing | Certified waterproofing entire toilet
Toilet | Tiler | Install Tile for all walls and floor
Toilet | Joinery | Custom build and install vanity
Toilet | Plumber/Builder/Joinery | Install taps, basin, entire vanity
Toilet | Builder | Install large Circular Mirror with LED lit back
Toilet | Builder | Install LED strip underside vanity
Toilet | Joinery | Stone look benchtop
Toilet | Plumbing | Install toilet (floor waste) with separated back |  | Separated back water reservoir piece inside niche
Toilet | Builder | Install niche with cabintry | https://designhostess.com/wp-content/uploads/2022/10/LINE_ALBUM_221005_4.jpg | Niche has LED strip
Toilet | Builder | Install Vanity bottom area with LED strip
Toilet | Eletrical | Install Electrical socket next to toilet |  | chase may be required Required for smart Japanese toilet seat
Toilet | Plumber | Install Water tap next to toilet |  | Required for japanese smart toilet seat
Laundry | Plumbing | Certified waterproofing entire laundry
Laundry | Tiler | Install tiles floor only + Side skirting
Laundry | Plumber | Install new 125L hot water system bracketed to wall above the ground. |  | Height of bracket will be discussed.
Laundry | Plumber | Install laundry sink vanity |  | Drawer set
Laundry | Plumber | Simplify existing plumbing |  | Current pipes extends out from ground. Need simplfy which
Kitchen | Plumber | Install kitchen sink and taps
Kitchen | Plumber | Certify waterproofing wet area |  | Sink area needs waterproofing
Kitchen | Joinery | Custom cabintry based on cocept design |  | Maxmimise the use of drawers where possible
Kitchen | Joinery | Custom Bin drawer
Kitchen | Joinery | Custom Diagnoal drawer / corner functional storage solution | https://designhostess.com/ultimoreference/#kitchen-org
Kitchen | Joinery | Custom spice rack drawer, for utensils | https://designhostess.com/wp-content/uploads/2022/10/LINE_ALBUM_221005_7.jpg
Kitchen | Joinery | Blum hinges/draw runners
Kitchen | Joinery | Polyurathane finish
Kitchen | Joinery | Protective glass underneath cabinets to protect from steam from kettle/rice cooker
Kitchen | Mason | Stone Marble look 40mm benchtop
Kitchen | Mason | Stone Marble look waterfall island |  | Waterfall front and side of island
Kitchen | Electrical | Additional Electical sockets on top of island/wall |  | Refer to electrical socket and lighting design
Kitchen | Electrical/ Builder | Induction cooktop installation + cabling |  | Require chasing to hallway suboard
Kitchen | Electrical/ Builder | Install cooktop
Kitchen | Electrical/ Builder | Install multi funcational microwave oven
Kitchen | Electrical/ Builder | Install rangehood
Kitchen | Electrical | New suboard installation
Living Room | Carpenter | Wood slats across feature wall per concept design | https://designhostess.com/wp-content/uploads/2022/10/LINE_ALBUM_221005_0-2.jpg | Colour of wood slats to be decided
Living Room | Tiler/carpenter | TV Mount marble tile backing | https://designhostess.com/wp-content/uploads/2022/10/LINE_ALBUM_221005_0-2.jpg | Refer to reference image. Colour to be decided
Living Room | Joinery | Custom wall mounted media cabinet per concept design | https://designhostess.com/ultimoreference/ | Refer to reference image. Colour to be decided
Living Room | Joinery | Custom wall mounted office desk per concept design | https://designhostess.com/ultimoreference/ | Refer to reference image. Colour to be decided
Living Room | Joinery | Custom wall mounted cabinets on top on office desk per concept design | https://designhostess.com/ultimoreference/ | Refer to reference image. Colour to be decided
Living Room | Joinery | Custom wall mounted cabinets on opposite side where piano is located per concept design | https://designhostess.com/ultimoreference/ | Refer to reference image. Colour to be decided
Living Room | Electrical | Add additional electrical sockets |  | refer to electrical plan
Living Room | Joinery | Wooden slats media wall |  | Refer to concept design. Tiled back with wooden slats across whole of wall
Bedroom Master | Joinery | Custom wardrobe floor to ceiling 2 door open per concept design | https://designhostess.com/ultimoreference/#bedroom-master | Refer to Bedroom Master concept. Colour to be decided
Bedroom Master | Joinery | Custom build L Shaped wall mounted desk/dressing table with draws per concept design | https://designhostess.com/ultimoreference/ | Colour to be decided
Bedroom Master | Joinery | Custom build shelving unit on top of L shape desk per concept design |  | Colour to be decided
Bedroom Master | Builder | Install retangular mirror on the wall where the L shape dressing table is and cicular mirror on the wall where the bed is. Both mirror will have LED lit back |  | Size to be decided
Bedroom Master | Builder | Custom build feature wall where the bed will be located | https://designhostess.com/wp-content/uploads/2022/10/photo_2022-10-16_01-54-04.jpg | Refer to Master Bedroom Concept
Bedroom Master | Joinery | Custom wall mounted media unit with draws. per concept design |  | Refer to Bedroom Master Concept image bedroom 5 and 6.
Bedroom Master | Joinery | Custom bedside table with draws | https://designhostess.com/ultimoreference/ | Colour to be decided. Refer to Bedroom Master concept.
Bedroom Master | Electrical | Wall mount TV above media and chase power down into media cabinet |  | Chasing required
Bedroom Master | Electrical | Add additional electrical sockets on L shape desk, next to bed and where the TV will be located |  | refer to electrical plan
Bedroom Guest | Joinery | Custom build and install L shaped wardrobe. |  | cost effective - Use existing wall as frame. Refer to reference of wardrobe design
Bedroom Guest | Joinery | Custom build small wardrobe on opposite side per concept design
Bedroom Guest | Joinery | Close doors for L shape wardrobe
Bedroom Guest | Electrical/builder | LED wardrobe strip lighting inside wardrobe
Bedroom Guest | Builder | Install curtain divider. Curtain rails on ceilings. |  | For privacy. To divide the bed area from the wardrobe.
Bedroom Guest | Electrical | Add additional electrical sockets |  | refer to electrical plan

## Bathroom
Bathroom
TYPE | SCOPE ITEM | Comment
Plumbing | Certified waterproofing entire bathroom
Tiling | install Tile wall and floor
Joinery | Custom build vanity with shelf cabintry across existing bathtub area | Chasing/plumbing work required to source pipes from bathtub
Builder | Circular mirror with LED lit behind
Builder | LED strip underneath vanity
Joinery | Stone/stone look benchtop
Electrical | Electrical points both sides od circular mirror | Chasing may be required.
Plumbing | Install framelss glass no door
Builder | Install niche along ledngth of shower | Allow for electricals to be able to install LED strip
Plumbing | shower taps moved to oppisitte side of shower area | Chasing/plumbing work required to source pipes from existing vanity area
Plumbing | Shower head dropped from bulkhead
Electrical | Bathroom Exaust fan
Electrical | Install 2 new down lights

## Toilet
Toilet
TYPE | SCOPE ITEM | Comment
Plumbing | Certified waterproofing entire toilet
Tiler | install Tile wall and floor
Joinery | Custom build and install vanity
Builder | Circular Mirror with LED lit back
Builder | LED strip underside vanity
Joinery | Stone look benchtop
Plumbing | Install toilet (floor waste) with separated back | Separated back piece inside niche
Builder | Install niche with cabintry | Allow for electricals to be able to install LED strip
Eletrical | Electrical outlet next to toilet

## Laundry
Laundry
TYPE | SCOPE ITEM | Comment
Plumbing | Certified waterproofing entire laundry
Tiler | Install tiles floor only + Side skirting
Plumber | Install new 125L hot water bracketed to wall
Plumber | Install laundry sink vanity | Drawer set
Plumber | Simplify existing plumbing | Current pipes extends out from ground. Need simplfy which

## Kitchen
Kitchen
TYPE | SCOPE ITEM | COMMENT
Plumber | Certify waterproofing wet area | Sink area needs waterproofing
Joinery | Custom cabintry based on cocept design | Maxmimise the use of drawers where possible
Joinery | Bin drawer
Joinery | Diagnoal drawer / coner functional storage solution
Joinery | spice rack drawer
Joinery | Blum hinges/runners
Joinery | Polyurathane finish
Electrical | Additional Electical outlets
Electrical | Induction cooktop installation + cabling | Require chasing to hallway suboard
Electrical | New suboard installation

## Living Room
Living Room
TYPE | SCOPE ITEM | Comment
Carpenter | Wood slats across feature wall per concept design | Material to be decided
Tiler | TV Mount marble tile backing | Light wooden finish per reference image
Joinery | Custom wall mounted media cabinet per concept design | Same finish as media unit
Joinery | Custom wall mounted office desk per concept design | Same finish as media unit
Joinery | custom wall mounted 2 cabinets per concept design | Same finish as media unit

## Bedroom Master
Bedroom Master
TYPE | SCOPE ITEM | Comment
Joinery | Custom wardrobe floor to ceiling 2 door open per concept design
Joinery | L Shaped wall mounted desk per concept design
Joinery | Shelving unit on top of L shape desk per concept design
Builder | Feature wall | Refer to Master Bedroom reference
Joinery | Custom mounted media unit per concept design | Similar design to living room
Electrical | Wall mount TV above media and chase power down into media cabinet | Chasing required

## Bedroom Guest
Bedroom Guest
TYPE | SCOPE ITEM | Comment
Joinery | Custom build and install L shaped wardrobe | cost effective - Use existing wall as frame
Joinery | Sliding doors
Electtrical | LED wardrobe strip lighting
Electtrical | Add elctrical socket